Economy LED Flood Light

Specifications

| Product Series | ECONOMY LED FLOOD LIGHT |
| --- | --- |
| Model No. | PTFC0350/ PTFC03A0/ PTFC03A5/ PTFC03B0 |
| Version | V1 |
| Date | 2022/7/1 |

Advantages

- ADC12 integrated die casting heat sink: excellent thermal management &compact structure

- Surge protection: driver 4KV SPD

- IP65 driver with short circuit/over-flow/over-temperature/over-voltage protection

- LED 2835 chip with high lumen efficiency and low lumen decay

- Using 4mm thickness tempered glass, good light transparency, UV resistance

- Lifespan 35,000 hours, 3years’ warranty

- Easy installation and low maintenance

Product Size

PTFC0350

PTFC03A0

PTFC03A5

PTFA01B0

Specifications

| Model No. | PTFC0350 | PTFC03A0 | PTFC03A5 | PTFC03B0 |
| --- | --- | --- | --- | --- |
| Input voltage | AC85-265V 50/60Hz |  |  |  |
| Power | 50W | 100W | 150W | 200W |
| PF | >0.9 |  |  |  |
| Driver | Inbuilt Driver |  |  |  |
| LED Type | SMD 2835 |  |  |  |
| Beam angle | 120° |  |  |  |
| Light efficiency | 120LM/W |  |  |  |
| luminous | 6000LM | 12000LM | 18000LM | 24000LM |
| Color Temp | 3000±200K / 4000±250K / 5700±300K / 6500±500 K |  |  |  |
| CRI | 70/80Ra |  |  |  |
| IP | IP65 |  |  |  |
| Working Temp | -20°C-45°C |  |  |  |
| Storage Temp | -40°C-60°C |  |  |  |
| Life span | 30000h@25°C |  |  |  |

Light Distribution Curve

| PTFC0350 | PTFC03A0 | PTFC03A5 | PTFC03B0 |
| --- | --- | --- | --- |

Installation

Package

| Model No. | PTFC0350 | PTFC03A0 | PTFC03A5 | PTFC0B0 |
| --- | --- | --- | --- | --- |
| QTY/Carton | 10 | 5 | 5 | 5 |
| Carton Size | 495*210*260mm | 330*280*305mm | 330*290*380mm | 330*305*440mm |
| N.W | 0.8 KG | 2.0 KG | 2.5 KG | 3.25 KG |
| G.W | 9.6 KG | 12 KG | 15 KG | 20 KG |
| 20'' GP Container | 9630PCS | 4610PCS | 3570PCS | 2935PCS |
| 40'' HQ Container | 24440PCS | 11700PCS | 9065PCS | 7450PCS |