LED Flood Light

Specifications

| Product Series | LED Flood Light |
| --- | --- |
| Model No. | PTFA0130/PTFA0150/ PTFA01A0/ PTFA01A5/ PTFA01B0/ PTFA01B5/ PTFA01C0/ PTFA01D0/ PTFA01E0 |
| Version | V1 |
| Date | 2023.3.30 |

Advantages

- ADC12 integrated die casting heat sink: excellent thermal management &compact structure

- Racked angle: allows for precise Installation, Up to 270°

- Surge protection: driver 6KV SPD

- IP65 driver with short circuit/over-flow/over-temperature/over-voltage protection

- LED 2835 chip with high lumen efficiency and low lumen decay

- Using 4mm thickness tempered glass, good light transparency, UV resistance

- Lifespan 35,000 hours, 3years’ warranty

- Easy installation and low maintenance

Product Size

PTFA0130                         PTFA0150

PTFA01A0                          PTFA01A5

PTFA01B0                             PTFA01B5/ PTFA01C0

PTFA01D0/ PTFA01E0

Specifications

| Model No. | PTFA0130 | PTFA0150 | PTFA01A0 | PTFA01A5 | PTFA01B0 | PTFA01B5 | PTFA01C0 | PTFA01D0 | PTFA01E0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Input voltage | AC85-265V 50/60Hz |  |  |  |  |  |  |  |  |
| Power | 30W | 50W | 100W | 150W | 200W | 250W | 300W | 400W | 500W |
| PF | >0.9 |  |  |  |  |  |  |  |  |
| Driver | Lifud /Brand Driver |  |  |  |  |  |  |  |  |
| LED Type | Lumileds 2835 |  |  |  |  |  |  |  |  |
| Beam angle | 30° 45° 60° 90° 120° |  |  |  |  |  |  |  |  |
| Light efficiency | 120LM/W |  |  |  |  |  |  |  |  |
| luminous | 3600LM | 6000LM | 12000LM | 18000LM | 24000LM | 30000LM | 36000LM | 48000LM | 60000LM |
| Color Temp | 3000±200K / 4000±250K / 5700±300K / 6500±500 K |  |  |  |  |  |  |  |  |
| CRI | 70/80 Ra |  |  |  |  |  |  |  |  |
| IP | IP66 |  |  |  |  |  |  |  |  |
| Working Temp | -20°C-45°C |  |  |  |  |  |  |  |  |
| Storage Temp | -40°C-60°C |  |  |  |  |  |  |  |  |
| Life span | 30000h@25°C |  |  |  |  |  |  |  |  |

Installation

Package