LED Solar Flood Light

Specifications

| Product Series | LED Solar Flood Light |
| --- | --- |
| Model No. | PTFD0150/PTFD01A0/PTFD01A5/PTFD01B0/PTFD01C0/PTFD01D0/PTFD01E0 |
| Version | V1 |
| Date | 2023.3.30 |

Product Size

PTFD0150/PTFD01A0                     PTFD01B0

PTFD01C0/PTFD01D0                         PTFD01E0

Specifications

| Model No. | PTFD0150 | PTFD01A0 | PTFD01B0 | PTFD01C0 | PTFD01D0 | PTFA01E0 |
| --- | --- | --- | --- | --- | --- | --- |
| Power | 50W | 100W | 200W | 300W | 400W | 500W |
| Capacity: | 3.2V 4AH | 3.2V 8AH | 3.2V 15AH | 3.2V 20AH | 3.2V 30AH | 3.2V 40AH |
| Solar Panel: | 5V,5W | 5V,10W | 5V,20W | 5V,30W | 5V,40W | 5V,50W |
| LED Type | 2835/5050 |  |  |  |  |  |
| Beam angle | 120° |  |  |  |  |  |
| Charging Time | 5-8 hours |  |  |  |  |  |
| Color Temp | 2700K-6500K |  |  |  |  |  |
| CRI | 70/80Ra |  |  |  |  |  |
| Luminous Flux: | 170lm/w |  |  |  |  |  |
| IP | IP65 |  |  |  |  |  |
| Working Temp | -20°C-45°C |  |  |  |  |  |
| Storage Temp | -40°C-60°C |  |  |  |  |  |
| Life span | 30000h@25°C |  |  |  |  |  |

Installation

Package

| Model No. |  |  |  |  |
| --- | --- | --- | --- | --- |
| QTY/Carton | 1PCS | 1PCS | 1PCS | 1PCS |
| Carton Size |  |  |  |  |
| N.W |  |  |  |  |
| G.W |  |  |  |  |