LED High Bay Light-DOB

Specifications

| Product Series | UFO 16-DOB |
| --- | --- |
| Model No. | PTHE16A0/ PTHE16A5 / PTHE16B0 |
| Version | V2 |
| Date | 2023/3/20 |

Advantages

- Unique flat wheel form design

- Patented ADC12 graded lightweight housing

- Built in driver with 3KV surge protection

- input voltage AC 220-240V

- Optical glass over 90% light transmitting

- LED 2835 chip with low lumen decay

- Lifespan 35,000 hours, 3 years’ warranty

- Easy installation and low maintenance

Product Size

100W

150W

200W

Unit: mm

Specifications

| Model No. | PTHE16A0 | PTHE16A5 | PTHE16B0 |
| --- | --- | --- | --- |
| Input Voltage | AC200-240V | AC200-240V | AC200-240V |
| Power | 100W | 150W | 200W |
| Dimming | No | No | No |
| Spd. | 3KV |  |  |
| PF | >0.95 |  |  |
| LED Type | 2835 |  |  |
| Beam Angle | 120° |  |  |
| Light Efficiency | 100 lm/W |  |  |
| Luminous | 10000 lm | 15000 lm | 20000 lm |
| Color Temp | 3000±200K / 4000±250K / 5700±300K / 6500±500 K |  |  |
| CRI | 70/80Ra |  |  |
| IP | IP65 |  |  |
| Working Temp | -20°C~45°C |  |  |
| Storage Temp | -40°C~60°C |  |  |
| Life Span | 35000h@25°C |  |  |

Installation

Function available

Package

| Model No. | PTHE16A0 | PTHE16A5 | PTHE16B0 |
| --- | --- | --- | --- |
| QTY/Carton | 1 pcs | 1 pcs | 1 pcs |
| Carton Size | 288*288*110mm | 335*335*110mm | 380*380*110mm |
| N.W | 1.1kg | 1.4kg | 2.0kg |
| G.W | 1.4kg | 1.85kg | 2.55 kg |
| 20'' GP Container | 2850PCS | 2115PCS | 1635PCS |
| 40'' HQ Container | 7250PCS | 5360PCS | 4150PCS |