LED High Bay Light

Specifications

| Product Series | UFO 15 |
| --- | --- |
| Model No. | PTHE15A0/ PTHE15A5 / PTHE15B0/ PTHE15B4 |
| Version | V0 |
| Date | 2022/4/13 |

Advantages

Advantages

- Unique flat wheel form design

- Patented ADC12 graded light weight housing

- Wide input voltage AC 100-277V

- Optical glass over 90% light transmitting

- LED 2835 chip with low lumen decay

- IP65 driver with short circuit/over-flow/over-temperature/over-voltage protection

- 170lm/W, over 95% energy saving

- Lifespan 50,000 hours, 5 years’ warranty

- Easy installation and low maintenance

Product Size

Product Size

100W

150W

200-240W

PTHK01B0

PTHK01B0

Unit: mm

Accessories

Accessories

100W AL Reflector          150W AL Reflector              200W AL Reflector

Unit: mm

Specifications

Specifications

| Model No. | PTHE15A0 | PTHE15A5 | PTHE15B0 | PTHE15B0 |
| --- | --- | --- | --- | --- |
| Input Voltage | AC100-277V | AC100-277V | AC100-277V | AC100-277V |
| Power | 100W | 150W | 200W | 240W |
| Dimming | 1-10V |  |  |  |
| Surge Protection | 6kV line-line, 6kV line-earth |  |  |  |
| PF | >0.95 |  |  |  |
| Power Supply | SOSEN(Ficker Free) |  |  |  |
| LED Type | 2835 |  |  |  |
| Beam Angle | 110° |  |  |  |
| Light Efficiency | 170 lm/W |  |  |  |
| Luminous | 17000 lm | 25500 lm | 34000 lm | 40800lm |
| Color Temp | 3000±200K / 4000±250K / 5700±300K / 6500±500K |  |  |  |
| CRI | >70 (Ra80 optional) |  |  |  |
| IP | IP65 |  |  |  |
| IK | IK08 |  |  |  |
| Storage Temp | -40°C~60°C |  |  |  |
| Working Temp | -20°C~45°C |  |  |  |
| Life Span | 50000h@25°C |  |  |  |

Installation

Function available

Function available

Package

Package

| Model No. | PTHE15A0 | PTHE15A5 | PTHE15B0 | PTHE15B4 |
| --- | --- | --- | --- | --- |
| QTY/Carton | 1 pcs | 1 pcs | 1 pcs | 1 pcs |
| Carton Size | 265*265*180mm | 305*305*180mm | 355*355*180mm | 355*355*180mm |
| N.W | 2.0kg | 2.6kg | 3.0 kg | 2.5 kg |
| G.W | 2.5kg | 3.3kg | 3.8 kg | 3.1 kg |
| 20'' GP Container | 2000PCS | 1500PCS | 1100PCS | 1100PCS |
| 40'' HQ Container | 5300PCS | 4000PCS | 2950PCS | 2950PCS |