LED Street light-A

Specifications

| Product Series | Street light A |
| --- | --- |
| Model No. | PTLF01A2 / PTLF01A8/ PTLF01B4 |
| Version | V1 |
| Date | 2022/7/2 |

Product Size

PTLG01A2

PTLG01A8

PTLG01B4

Specifications

| Model No. | PTLG01A2 | PTLG01A8 | PTLG01B4 |
| --- | --- | --- | --- |
| Input voltage | AC100-277V 50/60Hz |  |  |
| Power | 120W | 180W | 240W |
| PF | >0.9 |  |  |
| Driver | SOSEN DRIVER |  |  |
| LED Type | SMD 3030 |  |  |
| Beam angle | 90*90°T2-S T3-M |  |  |
| Light efficiency | 150LM/W |  |  |
| luminous | 18000 | 27000 | 36000 |
| Color Temp | 3000±200K / 4000±250K / 5700±300K / 6500±500 K |  |  |
| CRI | 70/80Ra |  |  |
| IP | IP65 |  |  |
| Working Temp | -20°C-45°C |  |  |
| Storage Temp | -40°C-60°C |  |  |
| Life span | 50000h@25°C |  |  |

LightDistribution Curve

| PTLG01A2 | PTLG01A85 | PTLG01B4 |
| --- | --- | --- |

Package

| Model No. | PTLF01A2 | PTLF01A8 | PTLF01B4 |
| --- | --- | --- | --- |
| QTY/Carton | 1PCS | 1PCS | 1PCS |
| Carton Size | 540*320*130mm | 640*320*130mm | 720*320*130mm |
| N.W | 4.0kg | 6.2 kg | 8.2 kg |
| G.W | 5.0 kg | 6.8 kg | 8.8 kg |
| 20'' GP Container | 1155PCS | 975PCS | 865PCS |
| 40'' HQ Container | 2930PCS | 2480PCS | 2200PCS |