LED Street light-B

Specifications

| Product Series | LED Street light B |
| --- | --- |
| Model No. | PTLH0150 / PTLH01A0/ PTLH01A5/ PTLH01B0 |
| Version | V1 |
| Date | 2023.3.31 |

Product Size

PTLH0150

PTLH01A0

PTLH01A5

PTLH01B0

Specifications

| Model No. | PTLH0150 | PTLH01A0 | PTLH01A5 | PTLH01B0 |
| --- | --- | --- | --- | --- |
| Input voltage | AC100-265V 50/60Hz |  |  |  |
| Power | 50W | 100W | 150W | 200W |
| PF | >0.9 |  |  |  |
| Driver | SOSEN DRIVER |  |  |  |
| LED Type | SMD 2835 |  |  |  |
| Beam angle | 70*130° |  |  |  |
| Light efficiency | 130LM/W |  |  |  |
| luminous | 6500LM | 13000LM | 19500LM | 26000LM |
| Color Temp | 3000±200K / 4000±250K / 5700±300K / 6500±500 K |  |  |  |
| CRI | 70/80Ra |  |  |  |
| IP | IP65 |  |  |  |
| Working Temp | -20°C-45°C |  |  |  |
| Storage Temp | -40°C-60°C |  |  |  |
| Life span | 30000h@25°C |  |  |  |

Package

| Model No. | PTLH0150 | PTLH01A0 | PTLH01A5 | PTLH01B0 |
| --- | --- | --- | --- | --- |
| QTY/Carton | 1PCS | 1PCS | 1PCS | 1PCS |
| Carton Size |  |  |  |  |
| N.W |  |  |  |  |
| G.W |  |  |  |  |